## Slide 1: Large-Scale Industrial Control Software The IEC 61499 Standard
Roopak Sinha

## Slide 2: Agenda
Distributed Systems (Industrial)
IEC 61499 Function Blocks Architecture

## Slide 3: Related Learning Outcomes
Understand the key factors and critically assess the issues that come into play in the development of large-scale software systems.
Independently select or design architectures for complex software systems and clearly document non-trivial software architectures.
Critically evaluate different software architectures and analyse their advantages and disadvantages.

## Slide 4: Where are we in the course?
Until now (part 1):
  Software Architecture
  Various factors/contexts/variables.
  Fundamentals.
From now on (part 2):
  Specific architectures and standards
    IoT
    IEC 61499
    IEC/IEEE/ACM 42010
    Guest lecture
  Reinforcing what we have learnt in part 1

## Slide 5: Questions
What is a distributed system?
What is an industrial distributed system?
What are the main stakeholder concerns in such systems?

## Slide 6: Definitions of Distributed Systems
“A system that consists of a collection of two or more independent computers which coordinate their processing through the exchange of synchronous or asynchronous message passing.”
“A distributed system is a collection of independent computers that appear to the users of the system as a single computer.” [A. Tannenbaum]
Notes: Air Collision Avoidance System:
US Border Control in Canada
Stock Exchange Market

## Slide 7: ACAS
Is it a Distributed Application?

## Slide 8: Deployment of Distributed Applications
Some code is running
Some code is running
Communication channel(s)
Nodes
Some code is running
Sites
Notes: SMS delivery application
- Operates in the cell phone network infrastructure
- HW:
Can it work via Bluetooth and Wi-Fi ? What needs to be done?

## Slide 9: Reasons for Distribution
Functional distribution
Load distribution
Replication of processing power
Economics
Add value
Redundancy
Flexibility
Exam question

## Slide 10: Challenges of Distribution
Concurrency
Absence of global notion of time or state
Sharing of resources
Fault tolerance
Reconfigurability
Distributed algorithm design
Exam question

## Slide 11: Topologies/Patterns
Client-server
P2P
Mediators
Exam question

## Slide 12: Programming of Distributed Systems
Traditional programming languages + communication API
Specific distributed languages
  ADA - military applications
  Erlang - Ericsson
  Haskell - Functional programming
  Oz -
  Have structures simplifying implementation of typical tasks, such as concurrency/parallelism, data/signal exchange, synchronisation
Architecture description languages

## Slide 13: Block Diagram-based Programming
LabView
SCADE
Microsoft Visual Programming Language
Open RTM

## Slide 14: Function Blocks Architecture
Basic FBType
Composite FBType
SIFBType
The Function Blocks architecture is intended for distributed measurement and control systems. Its artefacts:
Exam question

## Slide 15: Modular Software for Modular Machines
Function Block = event driven component

## Slide 16: Function Block Interface
Exam question
Notes: Reuse mechanism: Typing – Instantiation

## Slide 17: What is Event ?

## Slide 18: Event-driven Data Exchange
Call ei (d, e, f) where:
d= actual value of a e= old value of b f= old value of c
Event/data association is a part of FB Type definition

## Slide 19: Basic Function Block

## Slide 20: Encapsulation of legacy code

## Slide 21: Execution model – event driven
RES1
RES2
LOGIC
C
B
A
CNF
REQ
INITO
PARAMS
QI
INIT
INT
BOOL
EVENT
BOOL
BOOL
EVENT
BOOL
EVENT
EVENT
BOOL
BOOL
START
REQ&(PARAMS=1)&ACTIVE
1
CNF
INIT
INIT
1
INIT
MAIN
INITO
MAIN
CNF
SHUT
SHUT
REQ & (PARAMS=2)OR(QI=0)
1
ACTIVE:=1
RES1:=0 RES2:=0
] [
] [
]/[
A
B
C
( )
RES1
] [
] [
]/[
A
B
RES1
( )
RES2
ACTIVE:=0
RES1:=0 RES2:=NOT B
1
1
2
0
Exam question

## Slide 22: Example: Basic Function Block
ALGORITHM REQ IN ST
OUT := (X-Y)*(X+Y);
END

## Slide 23: Function Block Model

## Slide 24: Basic FB: FLASHER4

## Slide 25: Execution Control Chart and Algorithms

## Slide 26: Syntax of transition conditions
  Event
  Expression over Data
  Event & Expression over Data

## Slide 27: Exercise
Create a basic function block (multiplexer):
  Event in: REQ, event out: RESP
  Input variables: IN1 (integer), IN2 (integer), Choice (Boolean)
  Output variable: OUT (integer)
  Functionality (ECC):
    Everytime REQ comes in, sample all input variables, then:
      If Choice is false, assign OUT=IN1, emit RESP
      If Choice is true, assign OUT=IN2, emit RESP
Exam question

## Slide 28: Composition

## Slide 29: Example: calculate X2-Y2 using composite FB
Notes: Make composite blocks !

## Slide 30: Application logic: Event and Data connections of FBs
Event flow
Data flow
Exam question

## Slide 31: Connections
E_SPLIT

## Slide 32: Connections
E_MERGE

## Slide 33: Quick Recap
Function Blocks (IEC 61499):
A reference architecture for distributed measurement and control systems
Offers an implementable model which copes well with modern component approaches
Supports familiar (for control engineers) block diagram look and way of thinking
Event flow
Data flow
Exam question
Notes: Is not a programming language!

## Slide 34: A Flasher Application

## Slide 35: Motivation: Distributed architecture

## Slide 36: Distributing Functionality

## Slide 37: Implementing functions

## Slide 38: Simulation

## Slide 39: Two device topology

## Slide 40: Mapping onto two devices

## Slide 41: Three device topology

## Slide 42: Distribution onto three devices

## Slide 43: Distribution Model
Event flow
Data flow
Device 2
Communication network
Device 3
Device 4
Device 1
Application A
Appl. C
Application B
Controlled process/machines
Application =
Function Block Network
System = Communication Network + Devices +
Process/Machines
Exam question
Notes: __________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________

## Slide 44: Device Model
Device = Container for Resources
Device provides Communications & Process Interfaces
Communication link(s)
Resource x
Controlled process/machine
Resource z
Resource y
Application B
Application C
Application A
Device boundary
Communication interface(s)
Process interface(s)
Notes: __________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________

## Slide 45: Resource Model
Resource schedules & executes FB algorithms
Resource maps Communications & Process I/O Functions to Service Interface Function Blocks
Function
Block
Local application
(or local part of distributed application)
Communication functions
Process I/O functions
Process mapping
Data
Events
Service
Scheduling Function
Interface
Function
Block
Service
Interface
Algorithms
Communication mapping
Notes: __________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________
__________________________________________________________________________

## Slide 46: Application

## Slide 47: Distribution

## Slide 48: Mapping onto Devices/Resources

## Slide 49: Communication Models
QO
STATUS
PARAMS
FB_PUBLISH
SD_m
QI
:
SD_1
CNF
REQ
INIT
INITO
QO
STATUS
FB_SUBSCRIBE
:
INIT
INITO
RSP
IND
QI
RD_m
RD_1
PARAMS
BOOL
QO
ANY
STATUS
FB_CLIENT
SD_m
ANY
:
:
QI
BOOL
:
:
SD_1
ANY
ANY
RD_n
ANY
RD_1
EVENT
CNF
REQ
EVENT
INIT
EVENT
EVENT
INITO
PARAMS
ANY
BOOL
QO
FB_CNXN_STATUS
STATUS
PARAMS
ANY
FB_SERVER
SD_n
ANY
:
:
INIT
EVENT
EVENT
INITO
RSP
EVENT
EVENT
IND
QI
BOOL
:
:
SD_1
ANY
ANY
RD_m
ANY
RD_1
Publish/Subscribe Model:
Client/Server Model:
INITO(+)
INITO(+)
PARAMS
INIT(+)
PARAMS
INIT(+)
CNF(+)
SD_1, ..., SD_m
RSP(+)
REQ(+)
IND(+)
RD_1, ..., RD_m
SD_1, ..., SD_n
RD_1, ..., RD_n

## Slide 50: Discussion
Let’s architect an airport baggage handling system
  4 entry points
  3 exit points
  Several PhotoEyes
  Several merges/joins
  One separator

## Slide 51: Question
Is IEC 61499 Architecture, a subset of the IoT reference architecture?
Exam question

## Slide 52: Homework
Install FBDK and try to make an application
  http://www.holobloc.com/doc/fbdk/
Read the IEC 61499 architecture description
  AUTonline -> Library -> Electronic Reserves -> Example Architectures
  Apply the concepts from lectures 1-6 in this context.